
 

HardyDisk™ OPTOCHIN DIFFERENTIATION DISKS

	Cat. no. Z7011
	Optochin Differentiation Disks
	1 x 50 disks/cartridge

	Cat. no. Z7015
	Optochin Differentiation Disks
	5 x 50 disks/cartridge


INTENDED USE

Hardy Diagnostics Optochin Differentiation Disks are recommended for use in the presumptive identification of Streptococcus pneumoniae from other alpha-hemolytic streptococci.

SUMMARY
Streptococcus pneumoniae is found commonly in the human respiratory tract flora, as are other streptococci. When implicated in disease states and isolated onto blood agar for identification, the hemolytic pattern this organism gives is not distinguishable from other alpha-hemolytic streptococci. Thus, differentiation and identification must be performed via biochemical and serological testing.

Sensitivity to optochin (ethylhydrocupreine hydrochloride) is a well established phenomenon for Streptococcus pneumoniae.(5) A positive presumptive identification of S. pneumoniae is made when a well defined zone of inhibition results around the impregnated disk. Other alpha-hemolytic streptococci do not display this clear zone of inhibition when in the presence of optochin.

FORMULA

Each disk is impregnated with a solution of ethylhydrocupreine hydrochloride.

STORAGE AND SHELF LIFE

Storage: Upon receipt, store at -20 to 8 degrees C. away from direct light. The disks should not be used if there are any signs of deterioration, discoloration, or if the expiration date has passed. Protect from light, excessive heat, and moisture.

The expiration date applies to the product in its intact packaging when stored as directed.

This product has the following shelf life from the date of manufacture:

	36 months:
	Z7011
	Optochin Differentiation Disks

	
	Z7015
	Optochin Differentiation Disks


PRECAUTIONS

This product is for in vitro diagnostic use only and is to be used only by adequately trained and qualified laboratory personnel. Observe approved biohazard precautions and aseptic techniques. All laboratory specimens should be considered infectious and handled according to "standard precautions". The "Guideline for Isolation Precautions" is available from the Centers of Disease Control and Prevention at www.cdc.gov/ncidod/dhqp/gl_isolation.html.

For additional information regarding specific precautions for the prevention of the transmission of all infectious agents from laboratory instruments and materials, and for recommendations for the management of exposure to infectious disease, refer to CLSI document M29.

Sterilize all biohazard waste before disposal.

Refer to the keyword "MSDS", in the Hardy Diagnostics software program HUGO™, for more information on handling potentially hazardous material.

PROCEDURE

Specimen Collection: This product is not intended for primary isolation of patient specimens. This product is used in conjunction with other biochemical tests to identify cultures of isolated organism in pure culture.
Method:
1. Using an inoculating loop, select three to four well-isolated colonies of the alpha-hemolytic organism to be tested. An 18-24 hour culture (either BHI Broth, Cat. no. R20 or TSB, Cat. no. R30) of isolated organism can also be used for testing.

2. Streak the isolate onto one-half of a TSA-5% sheep blood agar plate (Cat. no. A10) so as to obtain confluent growth.(8)
Important: Use of media other than TSA-5% sheep blood agar is not recommended, as false identification may result.

3. Using sterile forceps, place an optochin disk onto the inoculated surface of the agar.

4. Press disk gently with the sterile forceps or loop so that the disk adheres firmly to the agar surface.

5. Incubate the plate at 35 +/- 2.0 degrees C. for 18-24 hours in 5-10% CO2 enriched environment.(8)
6. If zone of inhibition is present, measure the diameter with a millimeter ruler or caliper.

INTERPRETATION OF RESULTS

A presumptive identification for S. pneumoniae can be made if the alpha-hemolytic colony produces a zone of inhibition of 14mm or greater around the disk. Organisms producing smaller zone sizes should be tested for bile solubility. Organisms with questionable zone sizes (6-14mm) around the disk should be presumptively identified as a pneumococci only if it is bile soluble.(2)
A non-pneumococcal alpha-hemolytic streptococci should grow right up to and under the optochin disk.

LIMITATIONS

It has been shown that other strains of alpha-hemolytic streptococci may show a slight susceptibility to optochin.

Optochin susceptibility is a presumptive test only. It is recommended that further biochemical tests be performed for complete identification.

Many isolates will show indeterminate zones on media other than TSA-sheep blood agar. Isolates showing the indeterminate zones would require further testing to identify them as S. pneumoniae.(8)
S. pneumoniae isolates should be incubated in a CO2 enriched environment, as some isolates will grow poorly or not at all aerobically.(8)
MATERIALS REQUIRED BUT NOT PROVIDED

Standard microbiological supplies and equipment such as loops, incinerators, CO2 incubators, swabs, and culture media, etc., as well as serological and biochemical reagents, are not provided.

QUALITY CONTROL
	Test Organisms
	Zone Diameter

	Streptococcus pneumoniae
ATCC® 6305
	>14mm

	Streptococcus pyogenes
ATCC® 19615
	No zone


User Quality Control

Check for signs of contamination and deterioration. It is recommended that each new lot or shipment of disks be tested with known positive and negative controls.(1,9) Refer to the following keywords, in the Hardy Diagnostics software program HUGO™, for more information on QC: "Introduction to QC", "QC of Finished Product", and "The CLSI (NCCLS) Standard and Recommendations for User QC of Media". Also, see listed references for more information.

Physical Appearance

HardyDisk™ Optichin Differentiation Disks are 6mm (in diameter) filter paper disks with the letters OP printed on both sides and should appear white in color.


 
Optochin-sensitive (zone > 14mm)
Streptococcus pneumoniae (ATCC® 6305) growing around a HardyDisk™ Optochin Differentiation Disk (Cat. no. Z7011) on Blood Agar (Cat. no. A10). Incubated in CO2 for 24 hours at 35 deg. C.

 
Optochin-resistant (no zone)
Streptococcus pyogenes (ATCC® 19615) growing around a HardyDisk™ Optochin Differentiation Disk (Cat. no. Z7011) on Blood Agar (Cat. no. A10). Incubated in CO2 for 24 hours at 35 deg. C.

REFERENCES

1. Commission on Laboratory Accreditation, Laboratory Accreditation Program Microbiology Checklist. College of American Pathologists. Rev. 9/30/2004.

2. Murray, R.M., et al. 1995. Manual of Clinical Microbiology, 6th ed. American Society for Microbiology, Washington, D.C.

3. Forbes, B.A., et al. 1998. Bailey and Scott's Diagnostic Microbiology, 10th ed. C.V. Mosby Company, St. Louis, MO.

4. Isenberg, H.D. Clinical Microbiology Procedures Handbook, Vol. I & II. American Society for Microbiology, Washington, D.C.

5. J. Exp. Med. 1915; 22:269.

6. Koneman, E.W., et al. 1997. Color Atlas and Textbook of Diagnostic Microbiology, 5th ed. J.B. Lippincott Company, Philadelphia, PA.

7. Ragsdale, A.R. and Sanford, J.P. 1971. Appl. Microbiol.; 22:854-855.

8. Gardam, M.A. and M.A. Miller. 1998. J. Clinical Micro.; 63:3.

9. Centers for Medicare and Medicaid, Appendix C, Survey Procedures and Interpretive Guidelines for Laboratories and Laboratory Services. Subpart K - Quality System for Non-Waived Testing. 493;1200-1265. www.cms.hhs.gov/clia.

ATCC is a registered trademark of the American Type Culture Collection.

113006md

Manufactured for:
HARDY DIAGNOSTICS
1430 West McCoy Lane, Santa Maria, CA 93455, USA
Phone: (805) 346-2766 ext. 5658
Fax: (805) 346-2760
Website: www.HardyDiagnostics.com
Email: TechService@HardyDiagnostics.com
Ordering Information
Distribution Centers:
California · Washington · Utah · Arizona · Texas · Ohio · New York · Florida

The Hardy Diagnostics manufacturing facility and quality
management system is certified to ISO 13485.
Copyright© 1996 - 2013 by Hardy Diagnostics. All rights reserved.
