KEY SCIENTIFIC PRODUCTS

MATERIAL  SAFETY DATA SHEET

	
	

	1.      a.   Product Name:
	PYR Discs, PYR SWABS

	         b.  Product Code:
	K1538B, K971538

	         c.   Product Formulation:


	Each paper disc or swab  contains less than 0.5 mg of L-pyroglutamic acid a-naphthylamide.

	
	

	2.
Hazard Identification:  


Symbol:


Phrases:


	None required

None required when used as directed.  

	
	

	3.
Transport Information:


	None required.

	
	

	4.
Regulatory Information:


	See CHIP Regulations 1993.

	
	

	5.
Physical & Chemical Properties: 


a.
Physical Description:


b.
Chemical Properties:


	White disc or swab.
The chemical is soluble in water.

	
	

	6.
Fire Fighting Measures:


	Use water spray, CO2, foam or dry powder as the extinguisher medium. 

Non-flammable, non-combustible.  

	
	

	7.
Health Hazards:

 Toxicological Information:
	This product is for laboratory use only and should not be taken internally.  It is essentially non-hazardous when used as directed.

While unbound naphthylamide is a possible carcinogen, the unbound state is only present in a positive test.  Avoid ingestion of the discs or direct contact of the swab.  Inoculated tests should be treated according to acceptable procedures for bacteriological hazards.

None known

	
	

	8.
Stability & Reactivity:
	Essentially stable and non-reactive

	
	

	9.
First Aid:


a.
Eyes


b.
Ingestion


c.
Skin Contact:


d.
Inhalation:
	If dissolved solution of disc/swab is splashed into eyes, rinse immediately with water for 10 to 15 minutes with eyelids open.
Drink large amounts of water.  If more than 10 discs pr reaction occurs, consult physician.
Wash skin with soap and water.  No reaction anticipated.

No hazard anticipated.

	
	

	10.
Accidental Release/ 


Spillage Measures:


	Sweep or vacuum and discard as routine waste.  (See 11 below).  Spillage of inoculated solution should be handled according to guidelines for  bacteriological hazards.

	
	

	11.
Disposal:


	Uninoculated discs or solution  may be discarded as normal waste.  Inoculated solution should be discarded in a manner appropriate for biological hazard. 

	
	

	12.
Exposure Control and 


Personal Protection:
	Do not swallow. 

	
	

	13.
Ecological Information:
	None implemented.

	
	

	14.
Storage & Handling:


	Store at 2 to 8 C in a dry atmosphere and in the sealed container provided.

	
	

	15.
Other Information:


	Compiled with information from  Sigma/Aldrich databases.

	
	

	Date:


	04/10/01

	
	


Key Scientific Products

1402 D Chisholm Trail

Round Rock, Texas  78681

PRODUCT SAFETY DATA SHEET

	
	

	1.      a.   Product Name:
	PEP reagent, Spot indole reagent

	         b.  Product Code:
	Multiple

K2375, K982375, K882375  

	         c.   Product Formulation:



	Each vial contains a 1% dilution of p-dimethyl amino cinnamaldehyde in a 3% dilution of hydrochloric acid in water.

	
	

	2.
Hazard Identification:  


Symbol:


Phrases:


	None required.

R34, R37,S26

	
	

	3.
Transport Information:


	None required.

	
	

	4.
Regulatory Information:


	Chip 1993

	
	

	5.
Physical & Chemical Properties:


a.
Physical Description:


b.
Chemical Properties:


	Yellow liquid.

Soluble in water.

	
	

	6.
Fire Fighting Measures:


	Use water spray, CO2, foam or dry powder as the extinguisher medium. 

Non-flammable, non-combustible.  

	
	

	7.
Health Hazards:

 Toxicological Information:


	This product is for laboratory use only and should not be taken internally.  P dimethyl amino cinnamaldehyde  will stain hands and clothes and may be an irritant.  The weak dilution in PEP should not present any hazards. 

Hydrochloric acid may be fatal if swallowed.  This is a 3% dilution in water and does not react with water nor is it caustic to the touch.   

Reactions can occur in cases where the person has extreme skin sensitivity.  Symptoms in such individuals may include a burning sensation, coughing, headache, nausea, or vomiting.  



	
	

	8.
Stability & Reactivity:


	Essentially stable and non-reactive

	
	

	9.
First Aid:


a.
Eyes


b.
Ingestion


c.
Skin Contact:


d.
Inhalation:


	If dissolved solution is splashed into eyes, rinse immediately with water for 10 to 15 minutes with eyelids open. Seek medical advice.

Wash out mouth with water.  Seek medical advice.

Wash skin with soap and water.  No reaction anticipated.  Discoloration  of skin will disappear in 24-48 hours.

No vapors produced or hazard anticipated.

	
	

	10.
Accidental Release/ 


Spillage Measures:


	Excessive liquid may be absorbed with sand, soda ash, or soaked into paper towels.  Wash areas with soap and water to reduce staining.  Discard with normal laboratory trash. Staining can only be removed with at least a 15% solution of HCL.

	
	

	11.
Disposal:


	Empty container may be discarded as normal waste.  Absorption material such as paper towels, etc., should be used if large amounts of liquid are to be discarded.

	
	

	12.
Exposure Control and 


Personal Protection:


	Do not swallow.   Avoid spills to prevent stains.  Stains on cabinet and clothes are permanent and can only be removed with a strong solution of hydrochloric acid.

	
	

	13.
Ecological Information:


	None implemented.

	
	

	14.
Storage & Handling:


	Store at 2 to 8 C.

	
	

	15.
Other Information:


	Compiled with information from  Sigma/Aldrich databases.

	
	

	Revision Date:


	2/15/2011

	
	



